IEC 60601-1 and IEC 60601-2 series standards

Information required for electrical ME equipment

For electrical ME equipment that complies with IEC 60601-1 and IEC 60601-2 series standards, the following information and sample components should be provided before submission:

- Related Documents

- Product specification

- Risk management document

- List of key components, battery needs to provide IEC 62133 report, if no need to charge additional testing.

- The software requires IEC 62304 report, if no need for additional testing fees.

- Usability requires IEC 60601-1-6 and IEC 62366-1 reports, if no additional fee testing is required.

- IEC 60825 and IEC 62471 reports are required if there is a laser, and additional tests are required if there is a laser without a report.

- Sample of related components

- A set of product.

- Containing a power transformer, should provide the number of secondary winding group plus 1 (impregnated paint), in addition to provide unimpregnated paint transformer 1 (unpackaged semi-finished).

- Fuse and fuse holder (including thermal fuse and overcurrent release) 3 per model.

- 1 set of hand-held and pedal controls (if applicable).

- 1 of prescribed cleaning, disinfection and sterilization material.

- One complete package.

- Note: In the process of testing, if the required data and test components are found to be missing, the client will be notified, and the client is requested to provide them in time.